Kurdistan Region Government

Ministry of Higher Education and Scientific Research

Erbil Polytechnic University

Module (Course Syllabus) Catalogue

2023-2024

| College/ Institute | Erbil Medical Technical Institute |  |
| --- | --- | --- |
| Department | MLT Department |  |
| Module Name | Medical Lab. Instrument |  |
| Module Code | MEL203 |  |
| Degree | Technical Diploma Bachler High Diploma Master PhD |  |
| Semester | 2nd |  |
| Qualification | Master degree |  |
| Scientific Title | Assist prof. |  |
| ECTS (Credits) | 6 |  |
| Module type | Prerequisite Core Assist. |  |
| Weekly hours | 4 |  |
| Weekly hours (Theory) | ( 2 )hr Class | ( 3 )Total hrs Workload |
| Weekly hours (Practical) | ( 2 )hr Class | ( 1 )Total hrs Workload |
| Number of Weeks | 16 |  |
| Lecturer (Theory) | Sumaya hamad jaffer |  |
| E-Mail & Mobile NO. | Sumaya.hamad@epu.edu.iq |  |
| Lecturer (Practical) |  |  |
| E-Mail & Mobile NO. |  |  |
| Websites | https://academicstaff.epu.edu.iq/faculty/media.jalil |  |

https://academicstaff.epu.edu.iq/faculty/muharam.mohammed

Course Book

| Course Description | The student will demonstrate proper handling of laboratory chemicals; operate common analytical instruments; describe the theory and applications of various analytical instruments including types of electrophoresis, spectrophotometer, chromatography, and centrifugation; and practice laboratory safety. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Course objectives | identify in two or three paragraphs the important objectives of the course and show those points that students should learn at the end of the course. |  |  |  |  |  |  |
| Student's obligation | - Student's obligation - This course will introduce the student to the general role of health care provider as well as the specific role of the Medical Laboratory Technician. Basic aspects of medical terminology, laboratory safety, quality control, microscopy, pipe ting techniques, laboratory mathematics .as the followings 1-The student attention in all theoretical and practical lectures in academic year. 2-Completion of all tests. 3-Attendance in exams. 4-Write or prepare reports. |  |  |  |  |  |  |
| Required Learning Materials | lecture halls with data show equipment for lecture presentations, white board, overhead projector, posters |  |  |  |  |  |  |
| Evaluation | ‌ Task |  |  | Weight (Marks) |  | Due Week | Relevant Learning Outcome |
|  | Paper Review |  |  | 1 |  | 1 |  |
|  | Assignments | Homework |  | 0.5 |  | 4 |  |
|  |  | Class Activity |  | 2 |  | 2 |  |
|  |  | Report |  | 1 |  | 1 |  |
|  |  | Seminar |  | 1 |  | 1 |  |
|  |  | Essay |  | 0 |  | 0 |  |
|  |  | Project |  | 0 |  | 0 |  |
|  | Quiz |  |  | 1 |  | 4 |  |
|  | Lab. |  |  | 2 |  | 12 |  |
|  | Midterm Exam |  |  | 1 |  | 2 |  |
|  | Final Exam |  |  | 1 |  | 3 |  |
| Specific learning outcome: | - Ability to develop general knowledge - Knowledge and understanding of the subject area and understanding of the profession - Ability to identify, differentiate, pose and resolve problem - Demonstrate the ability to think critically and solve problems in a laboratory setting - Ability to apply knowledge in practice - Ability to search for process and analyse information from a variety of sources |  |  |  |  |  |  |
| Course References‌: | - Course Reading List and References‌: # General or text book of Lab. Instrument (Author), Donald M. West (Author), # Modern Analytical Chemistry 1st Edition by David T Harvey |  |  |  |  |  |  |
| Course topics (Theory) |  |  | Week |  | Learning Outcome |  |  |
| Microscope (Parts of Microscope, Use of Microscope & care of microscope). |  |  | 7-2-2024 |  | Describe the identify each part |  |  |
| Phase contrast & Dark field microscope |  |  | 7-2-2024 |  | Explain the types of Microscope |  |  |
| Centrifuge |  |  | 14-2-2024 |  | Define and explain each part with type of instrument |  |  |
| Balances Oven |  |  | 21-2-2024 |  | Two devices in detail |  |  |
| Incubator |  |  | 28-2-2024 |  | Known types of of incubator and parts |  |  |
| Autoclave |  |  | 6-3-2023 |  | Learning to how can using the oven and the part |  |  |
| CBC |  |  | 27-3-202 |  | Count blood cell ,principle and measurement |  |  |
| Ph. meter |  |  | 3-4-2024 |  | Describe the acidity and alkaline solutions |  |  |
| Water bath |  |  | 17-4-2024 |  | Describe princible of device |  |  |
| Spectrophotometer |  |  | 24-4-2024 |  | Measurement the wavelength of substance |  |  |
| VIDUS+MiniVIDUS |  |  | 8-5-2024 |  | Application this device in viral field |  |  |
| Electrophoresis Elisa |  |  | 15-5-2024 |  | Parts and operation of devices |  |  |
| Practical Topics (If there is any) |  |  | Week |  | Learning Outcome |  |  |
| Microscope (Parts of Microscope, Use of Microscope & care of microscope). |  |  | 7-2-2024 |  | Describe the operation of device and identify each part |  |  |
| Phase contrast & Dark field microscope |  |  | 7-2-2024 |  | Explain the types of Microscope in details |  |  |
| Centrifuge |  |  | 14-2-2024 |  | Operation of device and explain each part with type of instrument |  |  |
| Balances Oven |  |  | 21-2-2024 |  | Two devices in detail |  |  |
| Incubator |  |  | 28-2-2024 |  | Explain the operation device and the effect of temperature then types of of incubator and parts |  |  |
| Autoclave |  |  | 6-3-2024 |  | Learning to how can using the autoclave and the part |  |  |
| CBC |  |  | 27-3-2024 |  | Operation the Count blood cell devices ,principle and measurement |  |  |
| Ph. meter |  |  | 3-4-2024 |  | Describe the acidity and alkaline solutions Describe princible of device in practical |  |  |
| Water bath |  |  | 17-4-2024 |  | Describe princible of device |  |  |
| Spectrophotometer |  |  | 24-4-2024 |  | Measurement the wavelength of substance and applied in many solution to the see the different between them |  |  |
| VIDUS+MiniVIDUS |  |  | 8-5-2024 |  | Application this device in viral field |  |  |
| Electrophoresis Elisa |  |  | 15-5-2024 |  | Parts and operation of devices |  |  |
| Q1Q1/Choose the correct answer: (30 Marks) - Which of the following methods used for purifying liquids containing suspensions is most effective? a. Crystallization b. Separating funnel c. Centrifuging d. Autoclave - The lens that is within the eyepiece of the light microscope is called the: - Scanning b. low power c. high power d. ocular 3. Total Magnification was collected as - Ocular power Mag. * objective power Mag. b. Scanning power Mag. * objective power Mag. c. Ocular power Mag. * Scanning power Mag. 4. What monitors the temperature inside the incubator? a. humidity b. air pressure c. thermometer 5. The device was dependet on gravity and used to sediment different fractions of macromolecules: a. Centrifugal force b. buoyant force c. Radial distance d. frictional force Q2) Answer the followings: (24M) A- Types of pH meter: B- Write the different between the light microscope and electron microscope C- Enumerate the classification of centrifuges: |  |  |  |  |  |  |  |
| - Extra notes: |  |  |  |  |  |  |  |
| - External Evaluator The outcome of course book evaluation is commonly more explicit and follows the principles and rules in general. Muharam yaseen mohammed |  |  |  |  |  |  |  |